## Batch 1
[16 empty] | Class | QC | REF | REF | REF | WWTP Voja Bef | WWTP Hall Bef | WWTP Voja Aft | WWTP Sand Aft | WWTP Hall Aft | CSTR 37 Bef | CSTR 37 Aft | CSTR 52 Bef | CSTR 52 Aft | Bl2 contam
[16 empty] | Sample Type | QC | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
[16 empty] | Injection Order | 34 | 21 | 22 | 23 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 35
Batch ID | bar: 34 to 35
Alignment ID | Chemical | Average Mz | Average Rt(min) | DF% | Samples (d/n) | Concentration | LOD | LLOQ | Min Conc. | Max Conc. | Avg. Conc. | R2 | Model | Equation | N of points | Slope
1444 | Benzo[a]pyrene | 252.0934 | 22.67 | 61.5 | (8/13) | ng/mL | 5 | 10 | 21.1729 | 70.2601 | 60.1119 | 1 | quadratic-1 | y = -1.78e+02 * x^2 + 2.51e+04 * x + -6.78e+04 | 3 | 70.5056 | 70.2601 | 2.5 | 2.5 | 2.5 | 70.2601 | 70.2601 | 70.2601 | 2.5 | 38.162 | 70.2601 | 2.5 | 70.2601 | 70.2601 | 21.1729
1290 | Chrysene | 228.0934 | 20.035 | 69.2 | (9/13) | ng/mL | 0.25 | 0.25 | 0.4426 | 36.9389 | 10.936 | 0.997 | linear-1 | y = 5.74e+04 * x + 9.4e+03 | 8 | 57400 | 10.0786 | 0.0625 | 0.0625 | 0.0625 | 36.9389 | 11.6019 | 27.5844 | 0.0625 | 1.6264 | 4.3878 | 0.4426 | 5.8731 | 7.5939 | 2.3751
1017 | Pyrene | 202.0774 | 15.581 | 61.5 | (8/13) | ng/mL | 0.5 | 2 | 6.1615 | 131.6983 | 54.5552 | 0.994 | linear-1 | y = 1.85e+05 * x + 1.52e+05 | 5 | 185000 | 54.161 | 0.5 | 0.5 | 0.5 | 105.5882 | 56.8617 | 131.6983 | 0.5 | 6.1615 | 30.5215 | 0.5 | 19.1609 | 70.7098 | 15.74