## Batch 1
[18 empty] | Class | QC | QC | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Lab | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field | Field
[18 empty] | Sample Type | QC | QC | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample | Sample
[18 empty] | Injection Order | 13 | 14 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 55 | 56 | 57 | 58 | 59 | 60 | 62 | 63 | 64
Batch ID | bar: 13 to 64
Alignment ID | Chemical | Average Mz | Average Rt(min) | DF% | Samples (d/n) | Concentration | LOD | LLOQ | Min Conc. | Max Conc. | Avg. Conc. | R2 | Model | Equation | N of points | Target IS | Target IS (Rt) | Slope
2374 | Acenaphthylene | 152.062 | 11.196 | 100 | (37/37) | ng/mL | 1 | 1 | 3.2045 | 13.0428 | 6.804 | 0.994 | linear-1 | y = 7.06e-02 * x + -1.39e-01 | 7 | Acenaphthene-d10 | 11.535 | 0.0706 | 0.5 | 5.6389 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 3.2045 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 6.8726 | 4.4844 | 4.8842 | 6.829 | 5.3237 | 10.7715 | 5.7913 | 10.8839 | 12.4583 | 13.0428 | 9.3312 | 4.307 | 8.4025 | 3.9888 | 4.372 | 4.1184 | 5.0158 | 5.1939 | 0.5 | 0.5
2775 | Anthracene | 178.0778 | 15.216 | 100 | (37/37) | ng/mL | 0.1 | 0.1 | 1.3728 | 16.9023 | 4.9822 | 0.997 | linear-1 | y = 6.18e-02 * x + -6.97e-02 | 8 | Phenanthrene-d10 | 15.045 | 0.0618 | 1.5925 | 5.5791 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 1.4215 | 1.3804 | 1.5459 | 2.0788 | 1.3728 | 1.5126 | 2.3942 | 0.05 | 1.9478 | 5.9695 | 3.7024 | 4.1527 | 5.9148 | 5.0917 | 14.0141 | 5.6999 | 10.8307 | 13.3285 | 16.9023 | 9.8848 | 3.5146 | 8.6729 | 2.6789 | 2.6287 | 2.907 | 2.956 | 3.403 | 1.8777 | 1.7185
3959 | Dibenzo[a,h]anthracene | 278.1092 | 27.329 | 100 | (37/37) | ng/mL | 0.025 | 0.025 | 1.9171 | 54.696 | 17.7801 | 0.994 | linear-1 | y = 2.85e-02 * x + -4.48e-02 | 9 | Chrysene-d12 | 21.355 | 0.0285 | 4.4777 | 25.6621 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 0.0125 | 3.3136 | 2.5357 | 2.6605 | 8.6239 | 2.0848 | 2.2172 | 2.4988 | 1.9171 | 7.1491 | 23.9448 | 14.7844 | 18.515 | 21.1812 | 19.5939 | 37.7731 | 26.9451 | 49.6236 | 43.8408 | 54.696 | 40.8877 | 18.4784 | 34.0994 | 10.8651 | 11.5766 | 18.11 | 11.3252 | 19.1965 | 4.2877 | 2.8963
3099 | Diethoxyethyl Phthalate | 149.0234 | 18.068 | 100 | (37/37) | ng/mL | 2 | 2 | 7.2062 | 115.3699 | 28.9008 | 0.987 | linear-1 | y = 5.52e-03 * x + -2.68e-02 | 6 | Di-n-butyl phthalate (DBP) d4 | 16.651 | 0.00552 | 30.1985 | 16.9914 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 34.8039 | 23.7215 | 65.1792 | 14.5162 | 68.7614 | 115.3699 | 101.0851 | 66.0481 | 18.2001 | 20.8832 | 43.2227 | 8.5455 | 11.8713 | 11.671 | 15.0765 | 7.2062 | 7.8896 | 12.9802 | 24.2551 | 12.5201 | 1 | 11.1999 | 1 | 19.7212 | 28.7133 | 8.185 | 12.0044 | 7.9058 | 8.7855
3059 | Diisohexyl phthalate | 149.0235 | 17.705 | 100 | (37/37) | ng/mL | 0.1 | 0.1 | 1.7236 | 7.5698 | 3.5668 | 0.994 | linear-1 | y = 1.32e-02 * x + -1.73e-02 | 8 | Di-n-butyl phthalate (DBP) d4 | 16.651 | 0.0132 | 2.365 | 4.6414 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 6.9719 | 7.5698 | 0.05 | 0.05 | 2.5205 | 7.2572 | 2.368 | 4.9772 | 1.8919 | 1.8574 | 1.8964 | 0.05 | 2.9699 | 2.7805 | 1.8866 | 1.7508 | 2.6104 | 0.05 | 6.1666 | 4.4611 | 0.05 | 2.5433 | 1.7236 | 0.05
3779 | Dinonyl phthalate | 149.0234 | 24.62 | 100 | (37/37) | ng/mL | 1 | 1 | 4.0498 | 62.9952 | 18.8672 | 0.992 | linear-1 | y = 4.6e-02 * x + -1.03e-01 | 7 | Chrysene-d12 | 21.355 | 0.046 | 6.3431 | 15.4535 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 13.8682 | 4.0498 | 14.2804 | 11.3527 | 8.2916 | 15.0882 | 20.1396 | 5.7971 | 5.7035 | 62.9952 | 16.2321 | 21.4427 | 9.0317 | 21.1314 | 25.3995 | 23.5273 | 16.0402 | 21.4196 | 27.3829 | 18.2377 | 12.4923 | 15.0877 | 15.2129 | 14.3757 | 24.9071 | 18.5826 | 41.0321 | 29.2367 | 14.8105
2530 | Fluorene | 166.0776 | 12.804 | 100 | (37/37) | ng/mL | 0.1 | 0.1 | 1.8642 | 7.7361 | 3.5618 | 0.996 | linear-1 | y = 5.17e-02 * x + -7.66e-02 | 8 | Acenaphthene-d10 | 11.535 | 0.0517 | 1.8579 | 3.3087 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 1.8642 | 0.05 | 2.2145 | 2.1774 | 0.05 | 1.9138 | 2.0767 | 0.05 | 2.2344 | 4.4191 | 3.3006 | 3.1272 | 3.0743 | 3.4146 | 6.681 | 3.4877 | 4.6492 | 6.6302 | 7.7361 | 4.946 | 2.8653 | 6.1159 | 2.8938 | 2.5603 | 3.0446 | 2.6106 | 4.1131 | 2.4808 | 1.9751
2762 | Phenanthrene | 178.0778 | 15.1 | 100 | (37/37) | ng/mL | 0.1 | 0.1 | 1.4434 | 103.7936 | 25.5716 | 0.997 | linear-1 | y = 6.33e-02 * x + -5.89e-02 | 8 | Phenanthrene-d10 | 15.045 | 0.0633 | 4.4463 | 33.4574 | 0.05 | 1.4434 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 3.6699 | 2.626 | 4.5154 | 8.1884 | 2.6928 | 3.4313 | 6.1533 | 1.7739 | 7.4027 | 28.1461 | 19.1475 | 22.837 | 28.0088 | 26.7288 | 74.5004 | 35.4894 | 65.533 | 81.2323 | 103.7936 | 69.695 | 26.75 | 53.072 | 19.105 | 12.1917 | 19.1751 | 13.6324 | 15.7219 | 6.1842 | 4.3068
1145 | Phthalic acid, 2-methylallyl octyl ester | 149.0232 | 20.158 | 100 | (37/37) | ng/mL | 0.1 | 0.1 | 2.1737 | 5.5351 | 3.1658 | 0.993 | linear-1 | y = 6.99e-02 * x + -1.23e-01 | 8 | Chrysene-d12 | 21.355 | 0.0699 | 2.2608 | 2.6304 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 2.2732 | 2.4357 | 2.4081 | 2.5425 | 3.8285 | 5.286 | 4.8878 | 3.3387 | 2.482 | 3.0585 | 5.5351 | 2.3909 | 3.309 | 2.2643 | 3.7641 | 3.1743 | 2.9484 | 3.6382 | 3.5926 | 3.0722 | 0.05 | 2.7677 | 2.1737 | 3.0228 | 2.7565 | 2.4149 | 4.1158 | 2.9564 | 2.2048
3318 | TDCP | 98.9843 | 20.005 | 100 | (37/37) | ng/mL | 1 | 1 | 6.7579 | 63.9698 | 23.5509 | 0.994 | linear-1 | y = 6.57e-03 * x + -1.82e-02 | 7 | Chrysene-d12 | 21.355 | 0.00657 | 10.2276 | 20.7411 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 13.1461 | 8.0609 | 13.9188 | 15.0964 | 17.1337 | 25.8422 | 38.5701 | 18.2751 | 17.3857 | 42.8851 | 33.8996 | 21.7028 | 11.3235 | 19.9903 | 41.1091 | 18.7758 | 36.7604 | 28.6764 | 63.9698 | 23.1115 | 10.5612 | 17.2596 | 20.5802 | 13.9882 | 21.6036 | 18.8476 | 49.8142 | 13.9297 | 6.7579